| TASK SPECIFIC RISK ASSESSMENT |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Unit Address: |  |  |  |  |  |  | Tel: Fax: | Unit No: |  |  | Assessment No. |  |  |
|  |  |  |  |  |  |  |  | Assessment Date: |  |  |  |  |  |
|  |  |  |  |  |  |  |  | Review Date: |  |  |  |  |  |
| Unit Manager: |  |  |  |  | Line Manager: |  |  | Assessment completed by: (Print Name & Job Title): |  |  |  |  |  |
|  |  |  |  |  |  |  |  | Signature: |  |  |  |  |  |
| Copies to: /X |  | Operator Team Leader  Client BDM Insurance Dept. File  |  |  |  |  |  |  |  |  |  |  |  |
| A. Activity and or environment(s) assessed |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ###### CLEANING OF OIL COOLERS, WALKWAYS AND FLOOR AREA OF TRANSFORMER COMPOUND |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## General Comments: |  |  | All local area rules and regulations to be adhered to at all times |  |  |  |  |  |  |  |  |  |  |
| PERMIT FOR WORK REQUIRED YES |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B. Persons Exposed  if present. If not applicable – leave blank |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Company Employees |  |  |  |  | Client Employees / Visitors |  |  |  | Contractors |  |  |  |
|  | New / Expectant Mums1 |  |  |  |  | New Starters |  |  |  | Delivery Personnel |  |  |  |
|  | Elderly (over 65 years) |  |  |  |  | Young Workers2 |  |  |  | Children2 |  |  |  |
|  | People outside of the site |  |  |  |  | Agency Staff |  |  |  | Special Needs |  |  |  |
|  | Night Workers3 |  |  |  |  | Lone Workers |  |  |  | Other (Detail): |  |  |  |

- Separate ‘New & Expectant Mothers Risk Assessment’ to be completed for each person.

- Separate ‘Children & Young Persons Risk Assessment’ to be completed for each person.

- Separate ‘Medical Questionnaire’ to be completed for each night worker. Under the ‘Working Time Regs’ each night worker is entitled to a free health assessment on request. Initially, this involves completion of a revised copy of the Company’s  ‘Medical Questionnaire’.

| C. Hazards & Risks: Insert the following into the boxes below: H = High Risk-Likely to occur and serious injuries probable, M = Medium Risk– Could occur and injuries could possibly be serious, L = Low Risk-Unlikely to occur and if it did only minor injury likely. Leave blank if not applicable |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| #### Working Practices |  |  | #### Physical Injury |  |  | #### Environment |  |  |
|  | ## M | Lone Worker | 21 |  | Assault / Violence | 42. | ## M | Working Outside |
|  |  | Areas Difficult to Access | 22 |  | Portable Equipment Hazards | 43. |  | Confined Spaces |
|  |  | Hot Oil | 23 | ## M | Hand Tools | 44. |  | Access to First - Aid |
|  | ## M | Spillages / Wet Floors | 24 |  | Large Equipment Hazards | 45. |  | Work overhead |
|  |  | Non routine practices | 25 |  | Moving Machine Parts | 46. |  | Excavations |
|  |  | Contamination Areas | 26. | ## M | Slips, Trips, Falls | 47. |  | Extremes of temperature |
|  |  |  | 27. | ## M | Falls from Heights | 48. |  | Ventilation |
|  |  |  | 28. |  | Sharps | 49. |  |  |
| ###### Physical Agents |  |  | 29. |  | Transportation Hazards | Training (Tick) |  |  |
|  | ## M | Electricity | 30. |  | Falling Objects | 50. |  | Food Hygiene |
|  |  | Fire | 31. |  |  | 51. |  | Basic Health & Safety |
|  |  | Hot/Cold Objects | 32. |  |  | 52. |  | ## Display Screen Equipment |
|  |  | Noise/Vibration | ###### Hazardous Substances |  |  | 53. |  | Cleaning/COSHH/Manual H. |
|  |  | Animals | 33. | ## M | Contact with Chemicals | 54. |  |  |
|  |  | Arc Flash/ UV Light | 34. |  | Bacteria etc. (e.g. Legionnaires) | 55. |  |  |
|  |  | Explosion | 35. |  | Dust/ Fumes/ Gases/ Vapours | 56. |  |  |
|  |  | Pressure Systems / Gases | 36. |  | Vermin/Weils Disease | 57. |  |  |
|  |  |  | 37. |  | Zoonotic Diseases | ###### Other Issues (Tick) |  |  |
| ###### Manual Handling |  |  | 38. |  |  | 58. |  | Documentation /Signage |
|  |  | Handling of Loads | 39. |  |  | 59. |  | PPE |
|  |  | Use of Lifting Aids | 40. |  |  | 60. |  |  |
|  |  |  | 41. |  |  | 61. |  |  |

| (d) Significant Risks Identified (High, Medium or Low Risk) |  |  | (e) Control Measures to be Applied | (f) Responsibilities |  |
| --- | --- | --- | --- | --- | --- |
| No. | R |  |  | By Who | When |
| 1 4 | ## M ## M | Working Practices ##### Lone Working ##### Spillages / Wet Floors | Lone working is not allowed and all operatives must be aware of all basic safety information relating to that site For example:- - How to raise the alarm / call for assistance - How to obtain first aid - Fire and incident Inform your supervisor of your start and finish time The floor area will have oil and water on it appropriate footwear must be worn. All spillage’s to be cleaned immediately | Supervisor Operative Operative | Prior to start of task Each time Always |
| 9 | M | Physical agents ##### Electricity | Be aware of overhead power lines and only low-pressure water supply to be used. At all times ensure that water supply is directed downwards. Avoid water contact with any electrical boxes and supplies. | Operative | Always |
| 23 | H | Physical Injury ##### Hand Tools | No hand tools over 1.5 metres long to be taken into compound. No hand tools to be used above head height when on any raised working platform All hoses must be checked for leaks and pressure prior to entry to compound | Supervisor/ Operative | Always |

| (d) Significant Risks Identified (High, Medium or Low Risk) |  |  | (e) Control Measures to be Applied | (f) Responsibilities |  |
| --- | --- | --- | --- | --- | --- |
| No. | R |  |  | By Who | When |
| 26 27 | ## M ## M | Physical Injury Slips, Trips & Falls ##### Falls From Height | The risk of slips, trips and falls will increase in wet and oily conditions, suitable footwear and P.P.E. must be worn at all times. Check the area prior to start of task for loose items or obstructions that may cause trip hazards. When working on platforms do not over stretch or work out side handrails, care must also be taken on cat ladders and gantry walkways due to oil and water on surfaces. | Operative Operative | Prior to start of task Always |
| 33 | M | ## Hazardous substances ##### Contact With Chemicals | The site must only use approved chemicals. All employees using chemicals must have been trained on their use, the dangers and the precautions to observe. Chemicals must be stored appropriately. Diluted chemicals must be decanted into suitably labelled containers | Operative | Always |
| 42 | M | ## Environment Working Outside | Operatives are not to work outside in adverse weather, as there is a risk of wind blown debris-causing injury. The risk of slips, trips and falls during Icy weather will be greatly reduced by putting road grit down in area of work | Supervisor | Prior to start of task |
| 51 53 |  | ## Training ## Basic Health & Safety Manual Handling | All employees should be trained to level one basic health and safety. All local rules and regulations to be followed at all times All operatives to be trained in correct manual handling techniques | General manager to organise all training | Prior to start of task |

| d) Significant Risks Identified (High, Medium or Low Risk) |  |  | (e) Control to be applied | (f) Responsibilities |  |
| --- | --- | --- | --- | --- | --- |
| No. | R |  |  | By Who | When |
| 58 59 |  | ## Other issues Documentation / Signage P.P.E. | Competent person E&M to take out permit for work Conduct a ‘point of work’ secondary risk assessment. All permit requirements to be adhered to at all times Observe and adhere to all W.O.C. and job sheet instructions All employees must be provided with personal protective clothing and trained in its proper wear | Operative Operative |  |

| SAFE SYSTEM OF WORK (‘S.S.W.’) This sheet must only be used in conjunction with Risk Assessment No. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TASK: CLEANING OF OIL COOLERS. WALKWAYS AND FLOOR AREA OF TRANSFORMER COMPOUND |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SIGNIFICANT RISKS: (Detail all High & Medium Risks Here If This SSW is Not Attached to The Risk Assessment) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Is a ‘ Permit To Work’ required? (/ X) |  |  |  |  |  |  |  |  |  | NO |  |  |  |  |  |  | YES |  |  |  |  | Ref. Number: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Is a radiological work permit required (/ X) |  |  |  |  |  |  |  |  |  | NO |  |  |  |  |  |  | YES |  |  |  |  | Ref. Number: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| P.P.E. Requirements: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ### Safety Helmet |  |  |  | Eye Protection |  |  |  |  | Face Masks |  |  |  |  |  |  | Safety Footwear |  |  |  |  |  |  |  |  | High Visibility Clothing |  |  |  |  |  |  | Gauntlets |  |  |  |  |
| Gloves |  | Hearing Defenders |  |  |  |  |  | Respirators |  |  |  |  |  | Chain Mail Gloves |  |  |  |  |  |  |  |  | All Weather clothing |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Other /PPE Details: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADDITIONAL EQUIPMENT REQUIRED: Hose, wooden hand brush, deck scrub degreaser |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TASK MANAGEMENT: Supervisor to manage all aspects of task |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PROCEDURE: 1 Read and understand all risk assessments and method statements 2 Obtain and adhere to safety document 3 Collect equipment and take to point of work 4 Conduct ‘point of work’ risk assessment 5 Inform CCR of use of fire hydrants and request low pressure be maintained 5 Enter compound and proceed to degrease specified floor area, walkways and plant. 6 When work is complete make sure area is left in a clean and tidy state and all tools and equipment returned to store 7 Inform supervisor and CCR of completion of task 8 Return permit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Additional Training Required: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Additional Advice Available From: Supervisor |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ‘SSW’ Prepared By: |  |  |  |  | Print |  |  |  |  |  |  |  |  |  |  |  |  |  | Sign |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date ‘SSW’ Last Reviewed: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |