| TASK SPECIFIC RISK ASSESSMENT |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Unit Address: |  |  |  |  |  |  | Tel: | Unit No: |  |  | Assessment No. |  |  |
|  |  |  |  |  |  |  |  | Assessment Date: |  |  |  |  |  |
|  |  |  |  |  |  |  |  | Review Date: |  |  |  |  |  |
| Unit Manager: |  |  |  |  | Line Manager: |  |  | Assessment completed by: (Print Name & Job Title): |  |  |  |  |  |
|  |  |  |  |  |  |  |  | Signature: |  |  |  |  |  |
| Copies to: /X |  | Operator  Team Leader  Client BDM Insurance Dept. File  |  |  |  |  |  |  |  |  |  |  |  |
| A. Activity and or environment(s) assessed |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ###### UPPER LUBE OIL BUND CLEANING (FRF) FIRE RESISTANT FLUID |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## General Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B. Persons Exposed  if present. If not applicable – leave blank |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Company Employees |  |  |  |  | Client Employees / Visitors |  |  |  | Contractors |  |  |  |
|  | New / Expectant Mums1 |  |  |  |  | New Starters |  |  |  | Delivery Personnel |  |  |  |
|  | Elderly (over 65 years) |  |  |  |  | Young Workers2 |  |  |  | Children2 |  |  |  |
|  | People outside of the site |  |  |  |  | Agency Staff |  |  |  | Special Needs |  |  |  |
|  | Night Workers3 |  |  |  |  | Lone Workers |  |  |  | Other (Detail): |  |  |  |

- Separate ‘New & Expectant Mothers Risk Assessment’ to be completed for each person.

- Separate ‘Children & Young Persons Risk Assessment’ to be completed for each person.

- Separate ‘Medical Questionnaire’ to be completed for each night worker. Under the ‘Working Time Regs’ each night worker is entitled to a free health assessment on request. Initially, this involves completion of a revised copy of the Company’s  ‘Medical Questionnaire’.

| C. Hazards & Risks: Insert the following into the boxes below: H = High Risk-Likely to occur and serious injuries probable, M = Medium Risk– Could occur and injuries could possibly be serious, L = Low Risk-Unlikely to occur and if it did only minor injury likely. Leave blank if not applicable |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| #### Working Practices |  |  | #### Physical Injury |  |  | #### Environment |  |  |
|  |  | Lone Worker | 21 |  | Assault / Violence | 42. |  | Working Outside |
|  |  | Areas Difficult to Access | 22 |  | Portable Equipment Hazards | 43. | M | Confined Spaces |
|  |  | Hot Oil | 23 |  | Hand Tools | 44. |  | Access to First - Aid |
|  | L | Spillages / Wet Floors | 24 |  | Large Equipment Hazards | 45. |  | Work overhead |
|  |  | Non routine practices | 25 |  | Moving Machine Parts | 46. |  | Excavations |
|  |  | Contamination Areas | 26. | M | Slips, Trips, Falls | 47. | M | Extremes of temperature |
|  |  |  | 27. |  | Falls from Heights | 48. |  | Ventilation |
|  |  |  | 28. |  | Sharps | 49. |  |  |
| ###### Physical Agents |  |  | 29. |  | Transportation Hazards | Training (Tick) |  |  |
|  | M | Electricity | 30. |  | Falling Objects | 50. |  | Food Hygiene |
|  |  | Fire | 31. |  |  | 51. |  | Basic Health & Safety |
|  | M | Hot/Cold Objects | 32. |  |  | 52. |  | ## Display Screen Equipment |
|  |  | Noise/Vibration | ###### Hazardous Substances |  |  | 53. |  | Cleaning/COSHH/Manual H. |
|  |  | Animals | 33. | M | Contact with Chemicals | 54. |  | ###### Confined Spaces |
|  |  | Arc Flash/ UV Light | 34. |  | Bacteria etc. (e.g. Legionnaires) | 55. |  |  |
|  |  | Explosion | 35. |  | Dust/ Fumes/ Gases/ Vapours | 56. |  |  |
|  |  | Pressure Systems / Gases | 36. |  | Vermin/Weils Disease | 57. |  |  |
|  |  |  | 37. |  | Zoonotic Diseases | ###### Other Issues (Tick) |  |  |
| ###### Manual Handling |  |  | 38. |  |  | 58. |  | Documentation /Signage |
|  | M | Handling of Loads | 39. |  |  | 59. |  | PPE |
|  |  | Use of Lifting Aids | 40. |  |  | 60. |  |  |
|  |  |  | 41. |  |  | 61. |  |  |

| (d) Significant Risks Identified (High, Medium or Low Risk) |  |  | (e) Control Measures to be Applied | (f) Responsibilities |  |
| --- | --- | --- | --- | --- | --- |
| No. | R |  |  | By Who | When |
| 4 | L | Working Practices ##### Spillages / Wet Floors | Water spillages need to be contained and cleared immediately. Wet floor signs need to be displayed as long as needed. Treat water spillages with caution due to the presence of FRF. | Cleaner | Each time |
| 9 11 | M M | Physical Agents ##### Electricity Hot / Cold Objects | Visually inspect all electrical equipment, including extension leads. Cover all electrical switches with polythene, if pressure washing is involved or where there is the likelihood of splashes. Take care when cleaning around hot plant. Always wear the Correct PPE. If the petrol pressure washer is used keep clear of the exhaust. Extra care must be taken when moving and positioning the pressure washer after use. | Cleaner Cleaner | Each time Each time |
| 18 | M | Manual Handling Handling of Loads | There is a risk of injury from lifting the gratings and moving barrels. Ensure two men do the lifting of the gratings. Use a drum trolley to move drums. | Cleaner | Each time |
| 26 | M | ## Physical Injury Slips, Trips & Falls | There is a risk from the oily floors surfaces and trailing leads and hoses. Surrounding areas could be wet/oily and slippery. Ensure correct footwear is worn and all oily surfaces are cleaned. Ensure all cables and hoses are kept tidy and away from walkways. Place warning signs over any trip hazard. | Cleaner | Each time |

| (d) Significant Risks Identified (High, Medium or Low Risk) |  |  | (e) Control Measures to be Applied | (f) Responsibilities |  |
| --- | --- | --- | --- | --- | --- |
| No. | R |  |  | By Who | When |
| 33 | M | ## Hazardous Substances Contact With Chemicals | FRF is a known carcinogen; all cleaners must wear prescribed PPE and strictly adhere to procedures. Cleaning chemicals are used in accordance with COSHH information. | Cleaner | Each time |
| 43 47 | M M | Environment Confined Spaces Extremes of Temperature | Must be trained in confined spaces and have a personal Sava-set immediately available The temperature in these areas is very high. The cleaners doing this job must make sure they drink plenty of water before and during the cleaning. If the heat becomes too overpowering leave the area and inform your supervisor. | Cleaner Cleaner | Each time Each time |
| 51 53 54 |    | ## Training Basic Safety Training Cleaning/COSHH/Manual Handling Confined Spaces | All staff working in these areas must have undergone induction and basic safety training. Operatives should be familiar with the area to be worked in and be trained in the use of the Pressure Washer. All staff must have had COSHH and Manual Handling training All staff must be trained in confined space work prior to working in confined spaces | GM to Super- vise GM to organise General Manager to Organise | Before starting work Within 1st 3 months Within 1st 3 months |

| (d) Significant Risks Identified (High, Medium or Low Risk) |  |  | (e) Control Measures to be Applied | (f) Responsibilities |  |
| --- | --- | --- | --- | --- | --- |
| No. | R |  |  | By Who | When |
| 58 59 |   | ## Other Issues Documentation/Signage PPE | Ensure all relevant documentation is available and at least one point of work copy on the job. Display appropriate signs to keep area safe and to make others aware of hazards. Your documentation will specify additional Personal Protective Equipment. PPE is always provided as a last resort for hazards that can’t be minimised or eliminated. Wear all of your PPE. | Super- visor/ Cleaner Cleaner | Each time Each time |

| SAFE SYSTEM OF WORK (‘S.S.W.’) This sheet must only be used in conjunction with Risk Assessment No. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TASK: Upper Lube Oil Bund Cleaning (FRF) Fire Resistant Fluid |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SIGNIFICANT RISKS: (Detail all High & Medium Risks Here If This SSW is Not Attached to The Risk Assessment) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Is a ‘ Permit To Work’ required? (/ X) |  |  |  |  |  |  |  |  |  | NO |  |  |  |  |  |  | YES |  |  |  |  | Ref. Number: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Is a radiological controlled document required (/ X) |  |  |  |  |  |  |  |  |  | NO |  |  |  |  |  |  | YES |  |  |  |  | Ref. Number: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| P.P.E. Requirements: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ### Safety Helmet |  |  |  | Eye Protection |  |  |  |  | Face Masks |  |  |  |  |  |  | Safety Footwear |  |  |  |  |  |  |  |  | High Visibility Clothing |  |  |  |  |  |  | Gauntlets |  |  |  |  |
| Gloves |  | Hearing Defenders |  |  |  |  |  | Respirators |  |  |  |  |  | Chain Mail Gloves |  |  |  |  |  |  |  |  | All Weather clothing |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Other /PPE Details: PVC Wet-proof Suit, Gloves must also be wet-proof Wellies |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADDITIONAL EQUIPMENT REQUIRED: Warning signs, Barrel trolley and empty barrels, Oil absorbers, Bin liners, |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TASK MANAGEMENT: Supervisor |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PROCEDURE: Liaise with your supervisor prior to starting work. - Collect equipment and supplies as required from stores. Remember to collect personal Sava sets from the Fire Station. - Make a visual check of all equipment for defects or damage - Conduct a point of work risk assessment. - Erect warning signs stating the task and hazards and barrier off the area to be cleaned. - Ensure all PPE is worn before starting. - Remove the gratings one at a time. - If a large amount of oil exists liase with supervisor on suitability of wet-vac and then set up equipment required before proceeding further. - If there is only a small amount of oil on the floor, place oil absorbers to soak up the oil and then put into bin liners. - Once the oily waste has been put into the drums or the oil absorbers into bin liners they need to be labelled as special waste and taken to the Special Waste Store. After the oil is removed the floor should be mopped with degreaser. If it is deemed appropriate the floor and grating can be pressure washed. If pressure washing remember to cover any exposed electrical equipment with polythene prior to starting. - After clean up is complete remove all cleaning gear and signs. - 14. Contact your supervisor so the area can be checked. Replace the gratings. - Sign off any documentation provided and close the job. If you are ever in doubt, ASK |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Additional Training Required: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Additional Advice Available From: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ‘SSW’ Prepared By: |  |  |  |  | Print: |  |  |  |  |  |  |  |  |  |  |  |  |  | Sign |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date ‘SSW’ Last Reviewed: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |