| TASK SPECIFIC RISK ASSESSMENT |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Unit Address: |  |  |  |  |  |  | Tel: Fax: | Unit No: |  |  | Assessment No. |  |  |
|  |  |  |  |  |  |  |  | Assessment Date: |  |  |  |  |  |
|  |  |  |  |  |  |  |  | Review Date: |  |  |  |  |  |
| Unit Manager: |  |  |  |  | Line Manager: |  |  | Assessment completed by: (Print Name & Job Title): |  |  |  |  |  |
|  |  |  |  |  |  |  |  | Signature: |  |  |  |  |  |
| Copies to: /X |  | Operator Team Leader  Client BDM Insurance Dept. File  |  |  |  |  |  |  |  |  |  |  |  |
| 1. Activity and or environment(s) assessed |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ###### FIRE FIGHTING PUMP HOUSE CLEANING |  |  |  |  |  |  |  |  |  |  |  |  |  |
| General Comments: |  |  | The Risk Assessment details the measure you need to take whilst cleaning the fire fighting pump |  |  |  |  |  |  |  |  |  |  |
| House |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. Persons Exposed  if present. If not applicable – leave blank |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Company Employees |  |  |  |  | Client Employees / Visitors |  |  |  | Contractors |  |  |  |
|  | New / Expectant Mums* |  |  |  |  | New Starters |  |  |  | Delivery Personnel |  |  |  |
|  | Elderly (over 65 years) |  |  |  |  | Young Workers** |  |  |  | Children** |  |  |  |
|  | People outside of the site |  |  |  |  | Agency Staff |  |  |  | Special Needs |  |  |  |
|  | Night Workers*** |  |  |  |  | Lone Workers |  |  |  | Other (Detail): |  |  |  |

*Separate ‘New & Expectant Mothers Risk Assessment’ to be completed for each person.

**Separate ‘Children & Young Persons Risk Assessment’ to be completed for each person.

***Separate ‘Medical Questionnaire’ to be completed for each night worker. Under the ‘Working Time Regs’ each night worker is entitled to a free health assessment on request. Initially, this involves completion of a revised copy of the Company’s  ‘Medical Questionnaire’.

| C. Hazards & Risks: Insert the following into the boxes below: H = High Risk-Likely to occur and serious injuries probable, M = Medium Risk– Could occur and injuries could possibly be serious, L = Low Risk-Unlikely to occur and if it did only minor injury likely. Leave blank if not applicable |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| #### Working Practices |  |  | #### Physical Injury |  |  | #### Environment |  |  |
|  | M | Lone Worker | 21. |  | Assault / Violence | 42. |  | Working Outside |
|  |  | Areas Difficult to Access | 22. | M | Portable Equipment Hazards | 43. | M | Confined Spaces |
|  |  | Hot Oil | 23. |  | Hand Tools | 44. |  | Access to First - Aid |
|  | M | Spillages / Wet Floors | 24. |  | Large Equipment Hazards | 45. |  | Work overhead |
|  |  | Non routine practices | 25. |  | Moving Machine Parts | 46. |  | Excavations |
|  |  | Contamination Areas | 26. | M | Slips, Trips, Falls | 47. |  | Extremes of temperature |
|  |  |  | 27. | M | Falls from Heights | 48. |  | Ventilation |
|  |  |  | 28. |  | Sharps | 49. |  |  |
| ###### Physical Agents |  |  | 29. |  | Transportation Hazards | #### Training |  |  |
|  | M | Electricity | 30. |  |  | 50. |  | Food Hygiene |
|  | M | Fire | 31. |  |  | 51. |  | Basic Health & Safety |
|  | L | Hot/Cold Objects | 32. |  |  | 52. |  | ## Display Screen Equipment |
|  |  | Noise/Vibration | ###### Hazardous Substances |  |  | 53. |  | Cleaning/COSHH/Manual H. |
|  |  | Animals | 33. | ##### L | Contact with Chemicals | 54. |  | ###### Safety Harness Use |
|  |  | Arc Flash/ UV Light | 34. |  | Bacteria etc. (e.g. Legionnaires) | 55. |  |  |
|  |  | Explosion | 35. | ##### L | Dust/ Fumes/ Gases/ Vapours | 56. |  |  |
|  |  | Pressure Systems / Gases | 36. |  | Vermin/Weils Disease | 57. |  |  |
|  |  |  | 37. |  | Zoonotic Diseases | ###### Other Issues |  |  |
| ###### Manual Handling |  |  | 38. |  |  | 58. |  | Documentation /Signage |
|  | M | Handling of Loads | 39. |  |  | 59. |  | PPE |
|  |  | Use of Lifting Aids | 40. |  |  | 60. |  |  |
|  |  |  | 41. |  |  | 61. |  |  |

| (d) Significant Risks Identified (Number/High, Medium or Low Risk) |  |  | (e) Control Measures to be Applied | (f) Responsibilities |  |
| --- | --- | --- | --- | --- | --- |
| No. | R |  |  | By Who | When |
| 1 4 | M M | ## Working Practices Lone Workers Spillages/Wet Floors | Whenever a person is put to work in an area where they are likely to be the only person there, they must be aware of all basic safety information relating to that site For example: - how to raise the alarm/call for assistance - how to obtain first-aid - fire evacuation routes Wet floor signs need to be displayed whilst cleaning floors. | Supervisor Plant Cleaner | Each time Each Time |
| 9 10 11 | M L L | ## Physical Agents Electricity Fire Hot and Cold Objects | Water is a good conductor of electricity and should be used sparingly near electrical equipment If fire occurs raise alarm then evacuate the building. Avoid cleaning plant recently run up. Wear correct type of gloves. | Plant Cleaner Plant Cleaner Plant Cleaner | Each Time Each Time Each Time |

| (d) Significant Risks Identified (Number/High, Medium or Low Risk) |  |  | (e) Control Measures to be Applied | (f) Responsibilities |  |
| --- | --- | --- | --- | --- | --- |
| No. | R |  |  | By Who | When |
| 18 | M | ## Manual Handling Handling of Loads | The most significant loads are likely to be involved in the movement of cleaning equipment about the site. Wherever possible use trolleys to transport, where this is not possible two people should consider the lift. | Plant Cleaner | Each Time |
| 22 26 27 | M M M | ## Physical Injury Portable Equipment Hazards Slips, Trips and Falls Falls from Heights | All electrical equipment must be PAT tested and within its date for re-testing. Users must do a visual check of the condition of the flex/plug etc prior to use. Before changing disposable parts on the equipment the equipment must be disconnected from the electrical supply. Be aware of trailing leads and wet floors. If working at height wear safety harness and secure it to a stable fixing. | Supervisor and Plant Cleaner Plant Cleaner Plant Cleaner | Each Time Each Time Each Time |

| (d) Significant Risks Identified (Number/High, Medium or Low Risk) |  |  | (e) Control Measures to be Applied | (f) Responsibilities |  |
| --- | --- | --- | --- | --- | --- |
| No. | R |  |  | By Who | When |
| 33 35 | L L | Hazardous Substances Contact with Chemicals Dust/Fumes/Gases/ Vapour | The site must have approved all chemicals in use. All employees using chemicals must have been trained on there use the dangers and precautions to observe. Training to include Personal Protective Equipment. Chemicals must be stored appropriately. Diluted chemicals must be decanted into suitable labelled containers. Dust from using brushes/brooms. Wear dust masks/goggles. | General Manager Supervisor Cleaner | Before new chemicals are used Each Time Each Time |
| 43 | M | ## Environment Confined Spaces | All employees must have been trained and the precautions to observe. | General Manager to organise training | On site induction |
| 53 54 |   | ## Training COSHH/Cleaning/Manual Handling Safety Harness Use | All employees using chemicals must have been trained on their use, the dangers and precautions to observe. Such training needs to include the use of Personal Protective Equipment. All cleaning staff must be trained regarding the dangers of slips, trips and the precautions to observe. All staff must have received Manual Handling training. All staff working at heights must have received safety harness training. | General Manager to organise training | Prior to being set to work |

| (d) Significant Risks Identified (Number/High, Medium or Low Risk) |  |  | (e) Control Measures to be Applied | (f) Responsibilities |  |
| --- | --- | --- | --- | --- | --- |
| No. | R |  |  | By Who | When |
| 58 59 |   | ## Other Issues Documentation/Signage PPE | Conduct point of work Risk Assessment observe and adhere to Work Order Cards (WOC), conduct a Take 2 Risk Assessment (Take 2 Point of Work Risk Assessment). Erect warning signs around work area where necessary. Hard hat/rubber gloves/overalls/face masks/goggles/safety shoes/ear defenders all to be worn when necessary. Hard hat and safety shoes to be worn when across the red line. Ear defenders and safety goggles to be available. | Supervisor/ Plant Cleaner Plant Cleaner Everyone | Each Time Each Time Each Time |