## Activity & Persons Exposed
TASK SPECIFIC RISK ASSESSMENT
Unit Address: | [5 empty] | Tel: |  | Unit No: |  | Assessment No. | GRA 83
[6 empty] | Fax: |  | Assessment Date :
Review Date :
Unit Manager: |  |  |  |  | Line Manager : |  |  | Assessment completed by :
(Print Name & Job Title) :
Signature :
Copies to : | Operator |  | P |  | Team-Leader |  | Client | File | P
A. | Activity and or environment(s) assessed
The Use Of Portable Equipment
General Comments : |  |  |  | All local area rules and regulations to be adhered to at all times
B. | Persons Exposed |  |  | ü | if present. If not applicable - leave blank
ü | Company Employees |  |  |  |  | ü | Client Employees / Visitors |  | ü | Contractors
| New / Expectant Mums1 |  |  |  |  | ü | New Starters |  |  | Delivery Personnel
| Elderly (over 65 years) | [5 empty] | Young Workers2 |  |  | Children2
| People outside of the site |  |  |  |  | P | Agency Staff |  |  | Special Needs
| Night Workers3 |  |  |  |  | ü | Lone Workers |  |  | Other (Detail)
1. |  | Separate 'New & Expectant Mothers Risk Assessment' to be completed for each person.
2. |  | Separate 'Children & Young Persons Risk Assessment' to be completed for each person.
3. |  | Separate 'Medical Questionnaire' to be completed for each night worker. Under the 'Working Time Regs' each night worker is entitled
to a free health assessment on request. Initially, this involves completion of a revised copy of the Company's 'Medical Questionnaire'.

## Hazards & Risks
C. | Hazards & Risks :Insert the following into the boxes below: H = High Risk-Likely to occur and serious injuries probable, M = Medium Risk -
Could occur and injuries could possible be serious, L = Low Risk-Unlikely to occur and if it did only minor injury likely. Leave blank if not applicable
Working Practices |  |  | Physical Injury |  |  | Environment
1 | M | Lone Worker | 21 |  | Assault / Violence | 42 |  | Working Outside / Weather
2 |  | Areas Difficult to Access | 22 | H | Portable Equipment Hazards | 43 |  | Confined Spaces
3 |  | Hot Oil | 23 |  | Hand Tools | 44 |  | Access to First - Aid
4 |  | Spillages / Wet Floors | 24 |  | Large Equipment Hazards | 45 |  | Work Overhead
5 |  | Non routine practices | 25 |  | Moving Machine Parts | 46 |  | Excavations
6 |  | Radiological Controlled Areas | 26 | M | Slips, Trips & Falls | 47 |  | Extremes of Temperature
7 |  | Ergonomics | 27 |  | Falls from Heights | 48 |  | Ventilation
8 |  |  | 28 |  | Falling Objects | 49 |  | Access & Egress
Physical Agents |  |  | 29 |  | Transportation Hazards | Training (please tick)
9 | H | Electricity | 30 |  | Sharps | 50 |  | Food Hygiene
10 |  | Fire | 31 |  | Mobile Plant | 51 | ü | Basic Health & Safety
11 |  | Hot / Cold Objects | 32 |  |  | 52 |  | Display Screen Equipment
12 |  | Noise / Vibration | Hazardous Substances |  |  | 53 | P | Cleaning / COSHH / Manual Handling
13 |  | Animals | 33 |  | Contact with Chemicals | 54 |  | Work Instructions
14 |  | Arc Flash / UV Light | 34 |  | Biological Hazards | 55 |  | Permit To Work
15 |  | Explosion | 35 |  | Dust / Fumes / Gases / Vapours | 56 |  | Method Statement / S.S.W.
16 |  | Pressure Systems / Gases | 36 |  | Vermin / WeilsDisease | 57 |  | Toolbox Talk Required
17 |  | Battery Rooms | 37 |  | Zoonotic (Animal to man) Diseases | Other Issues
Handling & Lifting |  |  | 38 |  | Hazardous Materials Control | 58 |  | Documentation
18 | M | Handling of Loads | 39 |  |  | 59 | P | Information / Signage
19 |  | Use of Lifting / Pulling Aids | 40 |  |  | 60 |  | Equipment
20 |  | Mechanical Lifting Aids | 41 |  |  | 61 |  | Site Survey

## Control Measures
(d) Significant Risks Identified |  |  | (e) | (f)
(High, Medium or Low Risk) |  |  | Control Measures to be Applied | Responsibilities
No | R | Working Practices |  | By Who | When
1 | M | Lone Worker | Whenever a person is put to work in an area where they are likely to be the onbly person there, they must be aware of all basic safety information relating to that site. | Supervisor to ensure operatives competence | Prior to start of task
For example:-
-How to raise the Fire Alarm/call for assistance
-How to obtain First-Aid
-Fire and incident reporting and evacuation procedures.
Inform your supervisor of your expected time of completion and report when leaving area of the task
9 | M | Physical Agents: Electricity | Water is a good conductor of electricity and should not be used on cloths used to clean electrical equipment, including computers. Dry wiping must be used where this is ineffective, arrangements to unplug or electrically isolate the equipment need to be made and put in place prior to using a slightly damp cloth. The quipment must be allowed to dry thoroughly prior to it being re-connected to the elctricp supply. (See also 22 below) | Operative | At all times
Physical Injury
18 | M | Manual Handling Handling the loads | The most significant loads are likely to be involved in the movement of cleaning equipment about the site. Where the weight is significant, loads must be moved on wheels/trolleys wherever possibloe. Where this is not possible two people should consider the lift. | Operative | At all times
(d) Significant Risks Identified |  |  | (e) | (f)
(High, Medium or Low Risk) |  |  | Control Measures to be Applied | Responsibilities
No | R |  |  | By Who | When
Physical Injury
22 | H | Portable Equipment Hazards | All electrical equipment must be PAT tested and be within its date for re-testing. Users must do a quick visual check of the condition of the flex / plug etc. prior to use. Before changing disposable parts on equipment, the equipment must be disconnected rom the electrical supply. | Operative | Annual PAT test, Visual test each time
26 | M | Slips, Trips & Falls | The hazard is that of trips over any cabling used with the electrical equipment. Userrs must carry out a visual check to ensure that cabling is not caught / knotted as well as ensuring that it is not obstructing walkways. A warming sign should be erected to warm others of the hazard | Operative | At all times
(d) Significant Risks Identified |  |  | (e) | (f)
(High, Medium or Low Risk) |  |  | Control Measures to be Applied | Responsibilities
No | R | Training (Tick) |  | By Who | When
46 | ü | Cleaning / COSHH/Manual Handling | All employees using chemicals must have been trained on their use, the dangers and the precautions to observe. Such training needs to include the use of personal protective equipment | GM to organise Training | Prior to being put to work
All staff must have received manual handling training.

## Safe System of Work
Task: THE USE OF PORTABLE EQUIPMENT
Significant Risks: (Detail all High & Medium Risks Here If This SSW is Not Attached to The Risk Assessment) Working Practives - Lone Working. Physical Agents - Electricity, Manual Handling, Handling of Loads. Physical Injury - Portable Equipment Hazards / Slips, Trips & Falls, Hazardous Substances - Contact with Chemicals. Training, Cleaning/COSHH & PPE / Manual Handling.
Is a ‘ Permit To Work’ required? | NO | P | YES | Ref. Number:
Is a designated work instruction required | NO | P | YES | Ref. Number:
Additional Training Required To Undertake this task (if any):
Additional Advice Regarding This Task Available From:
P.P.E. Requirements: Eye Protection Safety Footwear
Gloves
Other /PPE Required:
Additional Equipment Required:
Who Is Responsible for Management of This Task: Supervisor to manage all aspects of task
PROCEDURE:
All Electrical equipment must be PAT tested and be within its date. Users must do a quick visual check of the condition of the flex/plug etc. prior to use. Before changing disposable part on equipment the equipment must be disconnected from the electrical supply.
‘SSW’ Prepared By:(Print) |  | Sign: |  |  | Date ‘SSW’ Last Reviewed: