SCALES MONTHLY ACCURACY RECORD

Scales Number and Location:

| MONTH | DATE | READINGS |  |  |  | ACTIONS REQUIRED |  | CORRECTIVE ACTIONS TAKEN | INITIALS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| YEAR: |  | A Weight 1 | B Weight 2 | C Weight 1 | D Weight 2 | YES √ | NO X | Variances of : +1% / –1% Take action |  |
| January |  |  |  |  |  |  |  |  |  |
| February |  |  |  |  |  |  |  |  |  |
| March |  |  |  |  |  |  |  |  |  |
| April |  |  |  |  |  |  |  |  |  |
| May |  |  |  |  |  |  |  |  |  |
| June |  |  |  |  |  |  |  |  |  |
| July |  |  |  |  |  |  |  |  |  |
| August |  |  |  |  |  |  |  |  |  |
| September |  |  |  |  |  |  |  |  |  |
| October |  |  |  |  |  |  |  |  |  |
| November |  |  |  |  |  |  |  |  |  |
| December |  |  |  |  |  |  |  |  |  |

## IMPORTANT NOTES:

## A separate sheet must be completed for each set of scales that are used for Pay & Weigh use.

- Weights used for calibration must be purchased from the authorised supplier. Ensure the calibration certification is held with the weights.

Approved supplier:

Avery Weigh-Tronix – FMC

General enquires: 0800 056 7722

Sales & general enquiries: webinfo@awtx-itw.com

Service & support: service@awtx-itw.com

## In each column: A (Weight 1) and B (Weight 2) enter the 2 calibrated weights you will be using to calibrate the scales

## In Column C - Place the calibrated weight you have stated in Column A (Weight 1) onto the scales and record the registered weight as displayed on the scales.

## In Column D - Place the calibrated weight you have stated in Column B (Weight 2) onto the scales and record the registered weight as displayed on the scales.

## Check the registered weight readings against the calibrated weights for accuracy. Record the corrective actions taken where any variance to the tolerance ranges of: +1% or –1%

## If outside the tolerance ranges, the scales must be replaced or repaired as soon as possible

## and recorded above.