# Work Premises: Statutory Compliance Declaration

| Site Name |  | Unit No |  |
| --- | --- | --- | --- |
| Site Manager |  | Line Manager |  |
| Date Declaration Completed |  | Completed by |  |

A copy of this document should be provided to the Client and/or person responsible for each aspect of the premises’ maintenance, this document should be reviewed and re-signed annually and retained for 6 years.

Where Compass is the duty holder in respect of any of these matters ensure these are included in the

Site-Specific Activities on the HSE Activity Calendar.

| GAS SAFETY – ANNUAL SAFETY INSPECTION |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Who is responsible for ensuring and completing this activity (Please circle as appropriate) |  |  | Client | Compass | N/A |
| I confirm that all gas supply and appliances are maintained, inspected and certified in accordance with the specific regulatory requirements by a competent person. |  |  |  |  |  |
| Print Name |  | Signature |  |  |  |
| Date of Last Inspection |  | Name of service provider |  |  |  |
| Location documents and certificates are held and available for reference |  |  |  |  |  |

| ELECTRICAL SAFETY OF PORTABLE APPLIANCES – ANNUAL OR AS APPROPRIATE INSPECTION AND TEST |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Who is responsible for ensuring and completing this activity (Please circle as appropriate) |  |  | Client |  | Compass |
| I confirm that all portable electrical appliances are maintained, inspected and tested in accordance with the specific regulatory requirements by a competent person. |  |  |  |  |  |
| Print Name |  | Signature |  |  |  |
| Date of Last Inspection |  | Name of service provider |  |  |  |
| Location documents and certificates are held and available for reference |  |  |  |  |  |

| ELECTRICAL HARDWIRING, INSPECTION, TESTING & MAINTENANCE – 5 YEARLY |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Who is responsible for ensuring and completing this activity (Please circle as appropriate) |  |  | Client |  | Compass |
| I confirm that all electrical hardwiring is maintained, inspected and tested in accordance with the specific regulatory requirements by a competent person. |  |  |  |  |  |
| Print Name |  | Signature |  |  |  |
| Date of Last Inspection |  | Name of service provider |  |  |  |
| Location documents and certificates are held and available for reference |  |  |  |  |  |

| PRESSURE VESSELS INSPECTION – IN ACCORDANCE WITH WRITTEN SCHEME OF EXAMINATION |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Who is responsible for ensuring and completing this activity (Please circle as appropriate) |  |  | Client | Compass |  | N/A |
| Identify all Pressure Vessels: |  |  |  |  |  |  |
| I confirm that all pressure vessels are maintained, inspected and tested in accordance with the specific regulatory requirements by a competent person. |  |  |  |  |  |  |
| Print Name |  | Signature |  |  |  |  |
| Date of Last Inspection |  | Name of service provider |  |  |  |  |
| Location documents and certificates are held and available for reference |  |  |  |  |  |  |

| LIFT INSPECTIONS – 6 MONTHLY PASSENGER LIFT & ANNUAL GOODS LIFT THOROUGH EXAMINATIONS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Who is responsible for ensuring and completing this activity (Please circle as appropriate) |  |  | Client | Compass |  | N/A |
| Identify all Lifts or Lifting Equipment: |  |  |  |  |  |  |
| I confirm that all lifts and lifting equipment are maintained, inspected and tested in accordance with the specific regulatory requirements by a competent person. |  |  |  |  |  |  |
| Print Name |  | Signature |  |  |  |  |
| Date of Last Inspection |  | Name of service provider |  |  |  |  |
| Location documents and certificates are held and available for reference |  |  |  |  |  |  |

| MECHANICAL EXTRACT VENTILATION DUCTWORK CLEANING – ANNUAL OR MORE FREQUENT AS APPROPRIATE |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Who is responsible for ensuring and completing this activity (Please circle as appropriate) |  |  | Client | Compass |  | N/A |
| Identify location of all ductwork: |  |  |  |  |  |  |
| I confirm that all ductwork and ductwork for mechanical extract ventilation are maintained, inspected and cleaned in accordance with the specific regulatory requirements by a competent person. |  |  |  |  |  |  |
| Print Name |  | Signature |  |  |  |  |
| Date of Last Inspection |  | Name of service provider |  |  |  |  |
| Location documents and certificates are held and available for reference |  |  |  |  |  |  |

| FIRE PRECAUTIONS & PROVISIONS, INSPECTION, TESTING & MAINTENANCE - ANNUAL OR MORE FREQUENT AS APPROPRIATE |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Who is responsible for ensuring and completing this activity (Please circle as appropriate) |  |  | Client |  | Compass |
| I confirm that all fire precautions & provisions are maintained, inspected and tested in accordance with the specific regulatory requirements by a competent person. |  |  |  |  |  |
| Print Name |  | Signature |  |  |  |
| Date of Last Inspection |  | Name of service provider |  |  |  |
| Location documents and certificates are held and available for reference |  |  |  |  |  |

| ASBESTOS MANAGEMENT |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Who is responsible for ensuring and completing this activity (Please circle as appropriate) |  |  | Client | Compass |  | N/A |
| I confirm that all asbestos in the premises is managed in accordance with the specific regulatory requirements by a competent person. |  |  |  |  |  |  |
| Print Name |  | Signature |  |  |  |  |
| Date of Last Inspection |  | Name of service provider |  |  |  |  |
| Location documents and certificates are held and available for reference |  |  |  |  |  |  |

| WATER SERVICES & SYSTEMS, INSPECTION, TESTING & MAINTENANCE - ANNUAL OR MORE FREQUENT AS APPROPRIATE |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Who is responsible for ensuring and completing this activity (Please circle as appropriate) |  |  | Client |  | Compass |
| I confirm that all water services and systems are maintained, inspected and tested in accordance with the specific regulatory requirements by a competent person. |  |  |  |  |  |
| Print Name |  | Signature |  |  |  |
| Date of Last Inspection |  | Name of service provider |  |  |  |
| Location documents and certificates are held and available for reference |  |  |  |  |  |

| AIR CONDITIONING SYSTEMS INSPECTION, TESTING & MAINTENANCE - ANNUAL OR MORE FREQUENT AS APPROPRIATE |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Who is responsible for ensuring and completing this activity (Please circle as appropriate) |  |  | Client | Compass |  | N/A |
| I confirm that all air conditioning systems are maintained, inspected and tested in accordance with the specific regulatory requirements by a competent person. |  |  |  |  |  |  |
| Print Name |  | Signature |  |  |  |  |
| Date of Last Inspection |  | Name of service provider |  |  |  |  |
| Location documents and certificates are held and available for reference |  |  |  |  |  |  |