| TASK SPECIFIC RISK ASSESSMENT |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Unit Address: |  |  |  |  |  |  | Tel: Fax: | Unit No: |  |  | Assessment No. |  |  |
|  |  |  |  |  |  |  |  | Assessment Date: |  |  |  |  |  |
|  |  |  |  |  |  |  |  | Review Date: |  |  |  |  |  |
| Unit Manager: |  |  |  |  | Line Manager: |  |  | Assessment completed by: (Print Name & Job Title): |  |  |  |  |  |
|  |  |  |  |  |  |  |  | Signature: |  |  |  |  |  |
| Copies to: /X |  | Operator Team Leader Client BDM Insurance Dept. File  |  |  |  |  |  |  |  |  |  |  |  |
| A. Activity and or environment(s) assessed |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ###### Cleaning of the fuel cell |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## General Comments: |  |  | All local area rules and regulations to be adhered to at all times |  |  |  |  |  |  |  |  |  |  |
| PERMIT FOR WORK REQUIRED YES |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B. Persons Exposed  if present. If not applicable – leave blank |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Company Employees |  |  |  |  | Client Employees / Visitors |  |  |  | Contractors |  |  |  |
|  | New / Expectant Mums1 |  |  |  |  | New Starters |  |  |  | Delivery Personnel |  |  |  |
|  | Elderly (over 65 years) |  |  |  |  | Young Workers2 |  |  |  | Children2 |  |  |  |
|  | People outside of the site |  |  |  |  | Agency Staff |  |  |  | Special Needs |  |  |  |
|  | Night Workers3 |  |  |  |  | Lone Workers |  |  |  | Other (Detail): |  |  |  |

- Separate ‘New & Expectant Mothers Risk Assessment’ to be completed for each person.

- Separate ‘Children & Young Persons Risk Assessment’ to be completed for each person.

- Separate ‘Medical Questionnaire’ to be completed for each night worker. Under the ‘Working Time Regs’ each night worker is entitled to a free health assessment on request. Initially, this involves completion of a revised copy of the Company’s  ‘Medical Questionnaire’.

| C. Hazards & Risks: Insert the following into the boxes below: H = High Risk-Likely to occur and serious injuries probable, M = Medium Risk– Could occur and injuries could possibly be serious, L = Low Risk-Unlikely to occur and if it did only minor injury likely. Leave blank if not applicable |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| #### Working Practices |  |  | #### Physical Injury |  |  | #### Environment |  |  |  |
|  | ## H | Lone Worker | 21 |  | Assault / Violence | 42. |  |  | Working Outside |
|  |  | Areas Difficult to Access | 22 | ## M | Portable Equipment Hazards | 43. |  |  | Confined Spaces |
|  |  | Hot Oil | 23 |  | Hand Tools | 44. |  |  | Access to First - Aid |
|  |  | Spillages / Wet Floors | 24 |  | Large Equipment Hazards | 45. |  |  | Work overhead |
|  |  | Non routine practices | 25 | ## M | Moving Machine Parts | 46. |  |  | Excavations |
|  | ## M | Contamination Areas | 26. | ## M | Slips, Trips, Falls | 47. |  |  | Extremes of temperature |
|  |  |  | 27. | ## M | Falls from Heights | 48. |  |  | Ventilation |
|  |  |  | 28. |  | Sharps | 49. |  |  |  |
| ###### Physical Agents |  |  | 29. |  | Transportation Hazards | Training (Tick) |  |  |  |
|  |  | Electricity | 30. |  | Falling Objects | 50. |  | Food Hygiene |  |
|  |  | Fire | 31. |  |  | 51. |  | Basic Health & Safety |  |
|  |  | Hot/Cold Objects | 32. |  |  | 52. |  | ## Display Screen Equipment |  |
|  |  | Noise/Vibration | ###### Hazardous Substances |  |  | 53. |  | Cleaning/COSHH/Manual H. |  |
|  |  | Animals | 33. |  | Contact with Chemicals | 54. |  | ###### E.P.D. Training |  |
|  |  | Arc Flash/ UV Light | 34. |  | Bacteria etc. (e.g. Legionnaires) | 55. |  |  |  |
|  |  | Explosion | 35. |  | Dust/ Fumes/ Gases/ Vapours | 56. |  |  |  |
|  |  | Pressure Systems / Gases | 36. |  | Vermin/Weils Disease | 57. |  |  |  |
|  |  |  | 37. |  | Zoonotic Diseases | ###### Other Issues (Tick) |  |  |  |
| ###### Manual Handling |  |  | 38. |  |  | 58. |  |  | Documentation /Signage |
|  | ## M | Handling of Loads | 39. |  |  | 59. |  |  | PPE |
|  |  | Use of Lifting Aids | 40. |  |  | 60. |  |  |  |
|  |  |  | 41. |  |  | 61. |  |  |  |

| (d) Significant Risks Identified (High, Medium or Low Risk) |  |  | (e) Control Measures to be Applied | (f) Responsibilities |  |
| --- | --- | --- | --- | --- | --- |
| No. | R |  |  | By Who | When |
| 1 6 | ## M ## M | Working Practices ##### Lone Working ##### Contamination Areas | No lone working is permitted as the operative cleaning must wear a safety harness and lanyard and must have a safety man present at all times. All operatives must be aware of all basic safety information relating to that site For example:- - How to raise the alarm / call for assistance - How to obtain first aid - Fire and incident reporting and evacuation procedures Inform your supervisor of your start and finish time Contact health physics to inform them of the nature of the task and expected duration. Adhere to all advice given | Supervisor Operative Operative | Prior to start of task Each time Each time |
| 18 | M | Manual handling Handling Loads | Correct manual handling techniques must be used at all times. Care must be taken when carrying vacuum from store to area of work | Operative | Always |
| 22 | ## M | ## Physical injury Portable Equipment Hazards | Only radiological vacuum cleaners to be used. All electrical equipment must be PAT tested and within its date for re-testing. Users must do a visual check of the equipment to include the plug and flex. Disposable parts such as vacuum bags must only be replaced by health physics authorised personnel | Supervisor | Prior to start of task |

| (d) Significant Risks Identified (High, Medium or Low Risk) |  |  | (e) Control Measures to be Applied | (f) Responsibilities |  |
| --- | --- | --- | --- | --- | --- |
| No. | R |  |  | By Who | When |
| 25 26 27 | M ## M ## M | Physical injury Moving Machine Parts Slips Trips & Falls Falls From Heights | The fuelling machine must not be connected to the T &TF. Liase with fuel route team leader to ensure that the fuelling machine is not to be moved Ensure area is roped off and all cables do not create the risk of tripping. Suitable footwear must be worn at all times. Check the area prior to start of task for loose items or obstructions that may cause tripping hazards Safety harness and lanyard to be worn (and fitted correctly) when carrying out the work. All harnesses to be booked out through ESS harness control procedure and returned accordingly. Harness to be anchored to a suitable fixed point. If in any doubt seek advice from the station safety engineer | Operative Operative Operative | Prior to start of task Always Always |
| 51 53 54 | ##  ##  ##  | ## Training Basic Health & Safety Manual Handling E.P.D | All employees should be trained to level one basic health and safety. All local rules and regulations to be followed at all times All operatives to be trained in correct manual handling techniques All operatives to be trained to use EPD | General manager to organise all training | Prior to start of task |

| d) Significant Risks Identified (High, Medium or Low Risk) |  |  | (e) Control to be applied | (f) Responsibilities |  |
| --- | --- | --- | --- | --- | --- |
| No. | R |  |  | By Who | When |
| 58 59 |   | ## Other issues Documentation / Signage P.P.E. | Conduct a ‘point of work’ secondary risk assessment. Observe and adhere to all W.O.C. and job sheet instructions Erect barriers and warning notices around the work area to prevent/ inform unauthorised persons from entering the work area All employees must be provided with personal protective clothing and trained in its proper wear | Operative Operative Operative | Prior to start of task |

| SAFE SYSTEM OF WORK (‘S.S.W.’) This sheet must only be used in conjunction with Risk Assessment No. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TASK: CLEANING OF THE Fuel Cell |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SIGNIFICANT RISKS: (Detail all High & Medium Risks Here If This SSW is Not Attached to The Risk Assessment) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Is a ‘ Permit To Work’ required? (/ X) |  |  |  |  |  |  |  |  |  | NO |  |  |  |  |  |  | YES |  |  |  |  | Ref. Number: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Is a radiological work permit required (/ X) |  |  |  |  |  |  |  |  |  | NO |  |  |  |  |  |  | YES |  |  |  |  | Ref. Number: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| P.P.E. Requirements: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ### Safety Helmet |  |  |  | Eye Protection |  |  |  |  | Face Masks |  |  |  |  |  |  | Safety Footwear |  |  |  |  |  |  |  |  | High Visibility Clothing |  |  |  |  |  |  | Gauntlets |  |  |  |  |
| Gloves |  | Hearing Defenders |  |  |  |  |  | Respirators |  |  |  |  |  | Chain Mail Gloves |  |  |  |  |  |  |  |  | All Weather clothing |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Other /PPE Details: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADDITIONAL EQUIPMENT REQUIRED: Safety harnesses, lanyard, radiological vacuum |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TASK MANAGEMENT: RPS to ensure operatives are working to DWI and local rules |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PROCEDURE: 1-Read and understand all documentation including ant safety documents. 2-If required by the safety document liase with the health physics monitor for assistance. 3-Locate area and take equipment to it. 4-Perform ‘point of work’ risk assessment. 5-Put harness an and attach lanyard to a suitable fixing point 6-Thoroughly clean around the 4 edges of the T&TF cover edge ensuring that all of the debris is removed using the vacuum cleaner. Do not brush the debris into the T&TF. 7-Carry out a general clean around the top of the T&TF and adjacent areas. 8-On completion of all work return all of the equipment to safe and proper storage. 9-Record details of all work done on the rear of the work order card 10- Inform your supervisor and the fuel route engineer that task is completed and leave area in a clean and tidy state. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Additional Training Required: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Additional Advice Available From: RPS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ‘SSW’ Prepared By: |  |  |  |  | Print |  |  |  |  |  |  |  |  |  |  |  |  |  | Sign |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date ‘SSW’ Last Reviewed: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |