SOP 24

LIFT ENTRAPMENT – COMMUNICATION/LIAISION GUIDELINES

Medirest colleagues must not attempt to release lift entrapped occupant/s at any time and should only be involved in the following liaison process and interim responsibility flow chart:

- Ensure communication is maintained with lift occupant/s throughout the duration of entrapment keeping a calm reassuring approach.

- Advise lift occupant/s of the pending lift engineer attendance; however avoid giving ETA as this may cause further distress.

- Identify entrapped persons (names, contact numbers etc.) asking if they want anyone contacting on their behalf.

- Identify any medical conditions of lift occupants and possible requirement for medication/treatment. If there is any major concern at this point immediately arrange for Fire Service attendance.

- Initiate notification of incident to Site Security Manager/Contract Director

Call out Process: - Enter Lift company _________________

National contractual response time to release a trapped passenger is 60 minutes (national average is 28 minutes; less in the bigger towns and cities because a higher density of engineers available in these areas).

If for any reason, the engineer is more than an hour away from site.The on-site personnel have the option to contact the fire brigade if they feel the response time is not adequate for any particular scenario.

Example Flow Chart

# SPECIFIC INSTRUCTIONS RELATING SOP24

On the dates below I certify that I have received and fully understand the training in the correct use of the instructions specific to contract as specified by this procedure.

| OFFICERS NAME | PIN NUMBER | DATE TRAINING COMPLETE | OFFICER SIGNATURE | MANAGER SUPERVISOR NAME | MANAGER SUPERVISOR SIGNATURE |
| --- | --- | --- | --- | --- | --- |