| # Ref. POR 03 | Task/Activity: Handling Liquid Nitrogen |  |  |  | Assessment date: |
| --- | --- | --- | --- | --- | --- |
| Unit No: | Unit name/location: |  |  |  | Assessed by: |
| Hazard |  |  | Safety Risk | Safe System of Work / Control Measures |  |
| Accidental spillage of liquid nitrogen Inhalation of cold vapour |  |  | Cold burns and frostbite Respiratory tract damage Asphyxiation | - Liquid nitrogen only to be handled by trained staff following manufacturer’s instructions, where these are available. - Eye protection, non-absorbent footwear and thermal protective gloves with close fitting ribbed cuffs, specifically designed for cryogenic use, must be worn to prevent liquid nitrogen running inside the glove. - Trousers should cover the tops of footwear to prevent liquid nitrogen filling them in the event of spillage. Long sleeved clothing to be worn to protect the arms against spillage - Bulk storage vessels only to be filled by the supplier - Dispensing must only take place where there is good ventilation. In a gas store, the door must be opened before decanting begins. Where appropriate, an audible alarm should be fitted in the dispensing area to warn of low oxygen levels below 20%. - Inhalation of liquid nitrogen vapour to be avoided. - Only containers and fittings that are designed for use with liquid nitrogen must be used - When filling flasks or Dewars, insert pipes and funnels slowly and ensure space is left to replace lids. The receiving flask should be positioned beneath the outlet and, where a tilting storage vessel is used, it must be tilted slowly and carefully so as to avoid spillage - The flask or Dewar must be visually inspected each time they are refilled and any defects must be reported. - Staff must not travel in any lift when transporting liquid nitrogen. Such containers should be put into an unoccupied lift, supported so that they cannot fall over and spill, a barrier erected in the lift with appropriate warning sign displayed: “Danger – Liquid Nitrogen, Do Not Enter” to prevent the use of the lift. The container should be removed promptly from the lift at the destination floor. - In the event of skin or eye contact, immediately flush with water for 15 minutes and seek medical help |  |
| Who may be affected by the task/activity? (Tick all applicable boxes) |  |  |  |  |  |
| Compass employees/Agency staff |  |  |  |  |  |
| Customers / Client staff |  |  |  |  |  |
| Visitors / Members of the Public |  |  |  |  |  |
| Maintenance personnel |  |  |  |  |  |
| Delivery personnel |  |  |  |  |  |
| Other (specify below) |  |  |  |  |  |
| IMPORTANT - This risk assessment should be reviewed every 3 years, or whenever there is a significant change in the task or activity and following any accident or incident involving this task or activity. This risk assessment must be retained for a period of 6 years. |  |  |  |  |  |