| #### Unit No: | #### Unit name/location: | #### Assessed by: |
| --- | --- | --- |

| Ref COM 22 | Task/Activity: Roller shutter/ Tensile Barrier Opening and Closure | Assessment date: 14/08/2012 |
| --- | --- | --- |

| Hazard |  | Safety Risk | #### Safe System of Work / Control Measures |
| --- | --- | --- | --- |
| Trapping Entanglement Electrical Hazards |  | Cuts Crushing injuries Amputation of hands/fingers Electric shocks | - Equipment only to be used by trained persons. - Roller Shutter to be maintained in accordance with manufacturer's guidance where available - Care must be taken to ensure that loose clothing and hair does not become entangled or drawn into the shutter movement. - Ensure all employees and customers are standing a safe distance when opening - Tensile Barrier to be placed into position to ensure customers are aware that the operation is closed for business and access is not available until removal. - When opening roller shutters, ensure it is opened fully so employees and customers can gain access safely. - The operation for closing is a reversal of the procedure - When closing, ensure all customers and employees have fully vacated he premises before the roller shutters are closed - Note: Roller shutters must not be half open / closed at any time. - Equipment to be fitted with all necessary guards and safety interlocks, which must be in good working order - All operating switches to be conveniently accessible to the user - A sign to be displayed adjacent to the machine and in view of the operator stating “Unauthorised persons not to use this equipment”. - Implement the Safe System of Work/Control Measures in Electrical Safety, Serial No. CRA 23 Risk Assessment, including annual PAT tests. - Implement the safety precautions in the Manual Handling Checklist - Control of closure to be available inside premise and outside for safe opening and closing of shutters |
| Who may be affected by the task/activity? (Tick all applicable boxes) |  |  |  |
| Compass employees/Agency staff |  |  |  |
| Customers / Client staff |  |  |  |
| Visitors / Members of the Public |  |  |  |
| Maintenance personnel |  |  |  |
| Delivery personnel |  |  |  |
| Other (specify below) |  |  |  |
| IMPORTANT - This risk assessment should be reviewed every 3 years, or whenever there is a significant change in the task or activity and following any accident or incident involving this task or activity. This risk assessment must be retained for a period of 6 years. |  |  |  |