## Activity & Persons Exposed
TASK SPECIFIC RISK ASSESSMENT
Unit Address: |  |  |  |  | Tel: |  | Unit No: |  | Assessment No. | GRA 78
[5 empty] | Fax: |  | Assessment Date :
Review Date :
Unit Manager: |  |  |  | Line Manager : |  |  | Assessment completed by :
(Print Name & Job Title) :
Signature :
Copies to : | Operator |  |  | Team-Leader |  | Client | File
A. | Activity and or environment(s) assessed
Fan - Direct / Belt Drive - Routine Maintenance Isolate electrical supply, check drive couplings / belts for wear / tension. Lubricate bearings, inspect anti-vibration mounts, check tightness of all fittings / duct connections, clean motor and casing, check electrical connections, check and record motor insulation and running current, ensure all access panels are secure, return equipment to normal service.. LOW RISK ACTIVITY.
General Comments : |  |  | Authorised person and Supervisor will initiate Correct PTW. Supervisor will give operative a
specific Method Statement / Safe System of Work prior to start which needs to read , understood,agrees and signed on to
B. | Persons Exposed |  | ü | if present. If not applicable - leave blank
ü | Company Employees |  |  |  | ü | Client Employees / Visitors |  | ü | Contractors
| New / Expectant Mums1 |  |  |  | ü | New Starters |  |  | Delivery Personnel
| Elderly (over 65 years) |  |  |  |  | Young Workers2 |  |  | Children2
| People outside of the site |  |  |  | ü | Agency Staff |  |  | Special Needs
ü | Night Workers3 |  |  |  | ü | Lone Workers |  | ü | Other Trainee, Insurance Inspector
1. |  | Separate 'New & Expectant Mothers Risk Assessment' to be completed for each person.
2. |  | Separate 'Children & Young Persons Risk Assessment' to be completed for each person.
3. |  | Separate 'Medical Questionnaire' to be completed for each night worker. Under the 'Working Time Regs' each night worker is entitled
to a free health assessment on request. Initially, this involves completion of a revised copy of the Company's 'Medical Questionnaire'.

## Hazards & Risks
C. | Hazards & Risks :Insert the following into the boxes below: H = High Risk-Likely to occur and serious injuries probable, M = Medium Risk -
Could occur and injuries could possible be serious, L = Low Risk-Unlikely to occur and if it did only minor injury likely. Leave blank if not applicable
Working Practices |  |  | Physical Injury |  |  | Environment
1 |  | Lone Worker | 21 |  | Assault / Violence | 42 |  | Working Outside / Weather
2 |  | Areas Difficult to Access | 22 | L | Portable Equipment Hazards | 43 |  | Confined Spaces
3 |  | Hot Oil | 23 | L | Hand Tools | 44 |  | Access to First - Aid
4 |  | Spillages / Wet Floors | 24 |  | Large Equipment Hazards | 45 |  | Work Overhead
5 |  | Non routine practices | 25 | H | Moving Machine Parts | 46 | L | Lighting
6 |  | Radiological Controlled Areas | 26 |  | Slips, Trips & Falls | 47 |  | Extremes of Temperature
7 |  | Ergonomics | 27 |  | Falls from Heights | 48 |  | Ventilation
8 | M | Isolate / Lock off | 28 |  | Falling / Flying Objects | 49 |  | Access & Egress
Physical Agents |  |  | 29 |  | Transportation Hazards | Training (please tick)
9 | M | Electricity | 30 | L | Sharps | 50 | ü | Task Training
10 |  | Fire | 31 |  | Mobile Plant | 51 | ü | Basic Health & Safety
11 |  | Hot / Cold Objects | 32 |  | Drowning / Asphyxiation | 52 |  | Display Screen Equipment
12 |  | Noise / Vibration | Hazardous Substances |  |  | 53 | ü | Cleaning / COSHH / Manual Handling
13 |  | Animals | 33 | L | Contact with Chemicals | 54 | ü | Work Instructions
14 |  | Arc Flash / UV Light | 34 |  | Biological Hazards | 55 | ü | Permit To Work
15 |  | Explosion | 35 |  | Dust / Fumes / Gases / Vapours | 56 | ü | Method Statement / S.S.W.
16 |  | Pressure Systems / Gases | 36 |  | Vermin / WeilsDisease | 57 | ü | Toolbox Talk Required
17 |  | Battery Rooms | 37 |  | Zoonotic (Animal to man) Diseases | Other Issues
Handling & Lifting |  |  | 38 |  | Hazardous Materials Control | 58 | ü | Documentation
18 | L | Handling of Loads | 39 |  |  | 59 | ü | Information / Signage
19 |  | Use of Lifting / Pulling Aids | 40 |  |  | 60 | ü | PPE / Equipment
20 |  | Mechanical Lifting Aids | 41 |  |  | 61 | ü | Site Survey

## Control Measures
(d) Significant Risks Identified |  |  | (e) | (f)
(High, Medium or Low Risk) |  |  | Control Measures to be Applied | Responsibilities
No | R | Working Practices |  | By Who | When
8 | M | Isolate / Lock Off | Isolate and lock off system ,with Electrical,mechanical and Secondary Isolation (Spade Off) | Authorised Person and Supervisor | Prior to Start
Physical Agents
9 | M | Electricity | Isolation and Normal precautions need to be taken to avoid contact with "live parts". Water not be used near live electrical equipment. Always check electric leads and plugs for loose wiring and damaged leads. Do not use equipment if it is faulty. Do Not Remove Guards Prior to Isolation | operative | Each time
No | R | Physical Injury |  | By Who | When
22 | L | Portable Equipment Hazards | All electrical equipment must be PAT tested and be within its date for re-testing. Users must do a quick visual check of the condition of the flex/plug etc prior to use. Before changing disposable parts on equipment (eg dust bags), the equipment must be disconnected from the electrical supply. Battery equipment must have the battery power disconnected/isolated. | operative | Each time
23 | L | Hand Tools | All Hand Tools are Checked priot ot use and the operative is competent in there Use. | operative | Each time
25 | H | Moving Machine Parts | Isolation of Equipment-Prevent fan rotating when removing guards | Supervisor | Each time
30 | L | Sharps | Be aware of protruding objects | operative | Each time
No | R | Hazardous Substances |  | By Who | When
33 | L | Contact with Chemicals | COSHH Assessment unlikely, nuisance dust, mask may be required All employees using chemicals must have been trained on their use, the dangers and the precautions to observe. Such training needs to include the use of Personal Protective Equipment. | General Manager | Before new chemicals are used
35 | L | Dust/ Fumes/ Gases/ Vapours | Correct PPE / RPE to be used | operative | Each time
(d) Significant Risks Identified |  |  | (e) | (f)
(High, Medium or Low Risk) |  |  | Control Measures to be Applied | Responsibilities
Environment
44 | L | Access to First-Aid | For Minor illness/Injury Contact Occupational Health Centre or Security | All | Each time
For Major illness/ Injury Contact 5555
46 | L | Lighting | Reasonable Lighting | Supervisor | Each time
No | R | Training (Tick) |  | By Who | When
50 | ü | Task Training | COSHH Assessment unlikely, nuisance dust, mask may be required. Supervisors must provide adequate training, supervision and instruction to ensure the health, safety and welfare of all personnel. Persons undertaking this work must be electrically competent, their competence must be established and recorded by their supervisor. Only authorised persons permitted to undertake this work. Persons undertaking this work must have the correct personal protective equipment, suitable for the activity. | General Manager | Prior to start up
51 | ü | Basic Health & Safety | All employees should be trained to Level One Basic Health & Safety course | General Manager | Within 3 Months
53 | ü | Cleaning/COSHH/Manual H. | All employees using chemicals must have been trained in their use, the dangers and the precautions to observe. Such training needs to include the use of Personal Protective Equipment. All cleaning staff must be trained in the dangers of slips, trips & falls and the precautions to observe. All staff to receive Manual Handling Training | General Manager | Prior to start up
54 | ü | Work Instruction | Service Works Help Desk | Supervisor | Each time
55 | ü | Permit to Work | authorised person and Supervisor will initiate Correct PTW | Supervisor | Each time
56 | ü | Method Statement / SSW | Supervisor will give operative a specific Method Statement / Safe System of Work prior to start which needs to read , understood,agrees and signed on to | Supervisor & Operative | Each time
No | R | Other Issues (Tick) |  | By Who | When
58 | ü | Documentation | HSE Guidelines for Employees and Contractors Client Site Procedures. Comp UK&I - Electrical Safety Rules Permit To Work. | operative | Each time
59 | ü | Information / Signage | Employee competent to Undertake The Work Erect 'Caution' signs and Barriers around the work area | operative | Each time
60 | ü | PPE / Equipment | Ensure appropriate PPE is worn. Tools,Meters and Instruments | operative | Each time

## Safe System of Work
Task: Fan - Direct / Belt Drive - Routine Maintenance
Significant Risks: (Detail all High & Medium Risks Here If This SSW is Not Attached to The Risk Assessment)
Is a ‘ Permit To Work’ required? | NO |  | YES | Ref. Number:
Is a designated work instruction required | NO |  | YES | Ref. Number:
Additional Training Required To Undertake this task (if any):
Additional Advice Regarding This Task Available From:
P.P.E. Requirements: Safety Helmet Eye Protection Face Masks Safety Footwear Respirators
High Visibility Clothing Gauntlets Gloves Hearing Defenders Special Gloves All Weather clothing
Proban Overalls
Other /PPE Required:
Additional Equipment Required:
Who Is Responsible for Management of This Task:
PROCEDURE: Establish the need or requirement for a written scheme of examination and consider risks to the insurance inspector.
‘SSW’ Prepared By:(Print) |  | Sign: |  |  | Date ‘SSW’ Last Reviewed: