## Activity & Persons Exposed
TASK SPECIFIC RISK ASSESSMENT
Unit Address : | [5 empty] | Tel: |  | Unit No: |  | Assessment No.
[6 empty] | Fax: |  | Assessment Date :
Review Date :
Unit Manager : |  |  |  |  | Line Manager : |  |  | Assessment completed by :
(Print Name & Job Title) :
Signature :
Copies to : | ü | / X | Operator | ü | Team-Leader | ü | Client | Insurance Dept. |  | File | ü
A. |  | Activity and or environment(s) assessed
INSPECTION & LEAK TEST OF GAS BOTTLE INSTALLATION & PIPEWORK
General Comments :
B. | Persons Exposed |  |  | ü | if present. If not applicable - leave blank
ü | Company Employees |  |  |  |  | ü | Client Employees / Visitors |  | ü | Contractors
| New / Expectant Mums1 |  |  |  |  | ü | New Starters |  | ü | Delivery Personnel
| Elderly (over 65 years) |  |  |  |  | ü | Young Workers2 |  |  | Children2
| People outside of the site |  |  |  |  | ü | Agency Staff |  |  | Special Needs
| Night Workers3 | [5 empty] | Lone Workers |  |  | Other (Detail)
1. |  | Separate 'New & Expectant Mothers Risk Assessment' to be completed for each person.
2. |  | Separate 'Children & Young Persons Risk Assessment' to be completed for each person.
3. |  | Separate 'Medical Questionnaire' to be completed for each night worker. Under the 'Working Time Regs' each night worker is entitled
to a free health assessment on request. Initially, this involves completion of a revised copy of the Company's 'Medical Questionnaire'.

## Hazards & Risks
C. | Hazards & Risks :Insert the following into the boxes below: H = High Risk-Likely to occur and serious injuries probable, M = Medium Risk -
Could occur and injuries could possible be serious, L = Low Risk-Unlikely to occur and if it did only minor injury likely. Leave blank if not applicable
Working Practices |  |  | Physical Injury |  |  | Environment
1 |  | Lone Worker | 21 |  | Assault / Violence | 42 |  | Working Outside
2 | ü | Areas Difficult to Access | 22 | ü | Portable Equipment Hazards | 43 |  | Confined Spaces
3 |  | Hot Oil | 23 | ü | Hand Tools | 44 |  | Access to First - Aid
4 |  | Spillages / Wet Floors | 24 |  | Large Equipment Hazards | 45 |  | Work Overhead
5 |  | Non routine practices | 25 |  | Moving Machine Parts | 46 |  | Excavations
6 |  | Contamination Areas | 26 | ü | Slips, Trips & Falls | 47 |  | Extremes of Temperature
7 |  | Water | 27 | ü | Falls from Heights | 48 |  | Ventilation
8 |  |  | 28 | ü | Falling Objects | 49 |  | Warning Systems
Physical Agents |  |  | 29 |  | Transportation Hazards | Training (please tick)
9 |  | Electricity | 30 |  | Sharps | 50 |  | Food Hygiene
10 |  | Fire | 31 |  |  | 51 | ü | Basic Health & Safety
11 |  | Hot / Cold Objects | 32 |  |  | 52 |  | Display Screen Equipment
12 |  | Noise / Vibration | Hazardous Substances |  |  | 53 | ü | Cleaning / COSHH / Manual Handling
13 |  | Animals | 33 |  | Contact with Chemicals | 54 | ü | Trained operators
14 |  | Arc Flash / UV Light | 34 |  | Bacteria etc (eg Legionnaires) | 55
15 | ü | Explosion | 35 | ü | Dust / Fumes / Gases / Vapours | 56
16 | ü | Pressure Systems / Gases | 36 |  | Vermin / WeilsDisease | 57
17 |  | Steam | 37 |  | Zoonotic (Animal to man) Diseases | Other Issues
Handling & Lifting |  |  | 38 |  | Lubricants | 58 | ü | Documentation / Signage
18 |  | Handling of Loads | 39 |  |  | 59 | ü | PPE
19 |  | Use of Lifting Aids | 40 |  |  | 60
20 |  |  | 41 |  |  | 61

## Control Measures
(d) Significant Risks Identified |  |  | (e) | (f)
(High, Medium or Low Risk) |  |  | Control Measures to be Applied | Responsibilities
No | R | Working Practices |  | By Who | When
1 |  | Lone Worker | Whenever a person is put to work in an area that they are likely to be the only person there, they must be aware of all basic safety information relating to that site. | n/a
For example:-
-How to raise the Fire Alarm/call for assistance
-How to obtain First-Aid
-Fire Evacuation Routes
-Set up frequent liasons with your supervisors
2 | H | Areas Difficult to Access | Approved staging to be erected before any work commences. Coveralls, gloves (leather), safety footware, glasses & hard hat to be worn at all times | Operator | Each time
3 |  | Hot Oil | Cutting lubricants to be kept to a minimum | n/a
4 | M | Spillages / Wet Floors | Any spillages to be contained & directed to the general building drainage system | Operator | Each time
5 |  | Non routine practices |  | n/a
6 |  | Contamination Area |  | n/a
7
8
(d) Significant Risks Identified |  |  | (e) | (f)
(High, Medium or Low Risk) |  |  | Control Measures to be Applied | Responsibilities
No | R | Physical Agents |  | By Who | When
9 |  | Electricity | Normal precautions need to be taken to avoid contact with "live parts"
10 | L | Fire | In case of fire, employees must know fire evacuation routes and local Fire Muster Point | Operator | Each time
11 |  | Hot/Cold Objects | Steam to be double valve isolated & surfaces allowed to cool to ambient temperature before work commences | n/a
12 | L | Noise/Vibration | Machine & operational noise in the building, ear defenders are available if required | Operator | Each time
13 |  | Animals |  | n/a
14 |  | Arc Flash/ UV Light |  | n/a
15 |  | Explosion |  | n/a
16 | H | Pressure Systems / Gases | Steam system to be double valve isolated & vented before any work commences | Operator | Each time
17 |  | Batteries | Do not clean any Battery Room unless authorised to do so. No naked flames or ignition source allowed. Do not use uninsulated tools. Wear appropriate PPE. No metal items to be used to clean this area. | n/a
(d) Significant Risks Identified |  |  | (e) | (f)
(High, Medium or Low Risk) |  |  | Control Measures to be Applied | Responsibilities
No | R | Handling & Lifting |  | By Who | When
18 | M | Handling of Loads | Only people who have been trained in Manual Handling Techniques should lift pipework & valves from the working platform | Operator | Each time
19 |  | Use of Lifting Aids | Long & heavy loads should be shared by two or more people | n/a
20
(d) Significant Risks Identified |  |  | (e) | (f)
(High, Medium or Low Risk) |  |  | Control Measures to be Applied | Responsibilities
No | R | Physical Injury |  | By Who | When
21 |  | Assault / Violence |  | n/a
22 | L | Portable Equipment Hazards | All electrical equipment must be PAT tested and be within its date for re-testing. | Operator | Each time
23 | L | Hand Tools | Basic mechanical hand tools used by trained personnel | Operator | Each time
24 |  | Large Equipment Hazards | Long & heavy items to be shared by two or more trained staff | n/a
25 |  | Moving Machine Parts | Only trained staff to operate the equipment | n/a
26 | M | Slips, Trips, Falls | The area around the steam plant is difficult to access. Additional lighting required | Operator | Each time
27 | M | Falls from Height | Register access platform to be used | Operator | Each time
28 | L | Falling Objects | Appropriate trestles to be used to support the material being cut | Operator | Each time
29 |  | Transportation Hazards | Minimum of two people to carry long items, beware of people as use approach blind corners of buildings | n/a
30 |  | Sharps | Eye protection, safety footwear, overalls to be worn. Leather gloves to be worn when removing swarf. Under no circumstances should compressed air be used to clean down the machine | n/a
31
32
(d) Significant Risks Identified |  |  | (e) | (f)
(High, Medium or Low Risk) |  |  | Control Measures to be Applied | Responsibilities
No | R | Hazardous Substances |  | By Who | When
33 | L | Contact with Chemicals | COSHH asssessment required for anti scuffing paste used on bolts (Copper Slip) | Operator | Each time
34 |  | Bacteria etc (eg Legionnaires) | Suitable barrier cream to be used to protect from dermatitas | n/a
35 |  | Dust/ Fumes/ Gases/ Vapours | Dust masks are available if the conditions warrant | n/a
36 |  | Vermin/ Weils Disease |  | n/a
37 |  | Zoonotic (Animal to Man) Diseases |  | n/a
38
39
40
41
(d) Significant Risks Identified |  |  | (e) | (f)
(High, Medium or Low Risk) |  |  | Control Measures to be Applied | Responsibilities
No | R | Environment |  | By Who | When
42 |  | Working Outside | The saw is positioned under a canopy & protected from the elements | n/a
43 |  | Confined Spaces |  | n/a
44 | L | Access to First-Aid | Client provides medical cover for all staff | Operator | Each time
45 |  | Work Overhead |  | n/a
46 |  | Excavations |  | n/a
47 |  | Extremes of Temperature |  | n/a
48 |  | Ventilation |  | n/a
49
(d) Significant Risks Identified |  |  | (e) | (f)
(High, Medium or Low Risk) |  |  | Control Measures to be Applied | Responsibilities
No | R | Training (Tick) |  | By Who | When
50 |  | Food Hygiene |  | n/a
51 |  | Basic Health & Safety | All employees should be trained to Level One Basic Health & Safety course | General Manager | Within 3 Months
52 |  | Display Screen Equipment |  | n/a
53 |  | Cleaning/COSHH/Manual H. | All employees using chemicals must have been trained in their use, the dangers and the precautions to observe. Such training needs to include the use of Personal Protective Equipment. All staff must be trained in the dangers of slips, trips & falls and the precautions to observe. All staff to receive Manual Handling Training | n/a
54 |  | Machine Tool | Personnel using the machine to be trained on the use of the machine & aware of the potential danger. Only a | n/a
(d) Significant Risks Identified |  |  | (e) | (f)
(High, Medium or Low Risk) |  |  | Control Measures to be Applied | Responsibilities
No | R | Other Issues (Tick) |  | By Who | When
58 | M | Documentation / Signage | Erect 'Caution' signs around the work area | Operator | Each time
59 | H | PPE | Safety shoes, overalls, safety glasses gloves & hard hat to be worn | Operator | Each time
60 | M | Lighting | Additional portable lighting required | Operator | Each Time
61

## Safe System of Work
Task:
Significant Risks: (Detail all High & Medium Risks Here If This SSW is Not Attached to The Risk Assessment)
Is a ‘ Permit To Work’ required? | NO |  | YES | Ref. Number:
Is a designated work instruction required | NO |  | YES | Ref. Number:
Additional Training Required To Undertake this task (if any):
Additional Advice Regarding This Task Available From:
P.P.E. Requirements: Safety Helmet Eye Protection Face Masks Safety Footwear Respirators
High Visibility Clothing Gauntlets Gloves Hearing Defenders Special Gloves All Weather clothing
Other /PPE Required:
Additional Equipment Required:
Who Is Responsible for Management of This Task:
PROCEDURE:
‘SSW’ Prepared By:(Print) |  | Sign: |  |  | Date ‘SSW’ Last Reviewed: