| #### Ref. CAT 50 | #### Task/Activity: Use of Plumbed-In Hot Water Boilers |  |  |  | #### Assessment date: |
| --- | --- | --- | --- | --- | --- |
| #### Unit No: | #### Unit name/location: |  |  |  | #### Assessed by: |
| Hazard |  |  | Safety Risk | #### Safe System of Work / Control Measures |  |
| Contact with hot equipment and water Spillages Electrical and/or gas hazards Pressure Vessels |  |  | Burns and Scalds Slips and falls Electric shock and burns Fire and explosion Explosion | - Water boilers only to be used by trained employees. - Follow manufacturer's user instructions where these are available - Water boilers to be maintained by competent persons and in accordance with manufacturer's guidance where available, including descaling. - If necessary, pressurised water boilers to be inspected in accordance with a written scheme of examination by a competent person at appropriate intervals. - Water boilers to be suitably positioned away from busy walkways and at a convenient height for the user. - Sufficient clearance between the tap and surface to allow the equipment being filled to be placed directly beneath the dispense tap. - Wherever practicable, the container should be placed on a surface beneath the dispense tap whilst it is being filled and not held, in order to avoid the risk of scalds to the hands. - Oven gloves/cloths to be used when handles to containers may become hot as the container is filled with hot water. - Spillages to be cleaned up as they occur and wet floor warning signs used when appropriate. - Power sockets and connections to electrical equipment to be positioned or protected where they will not be affected by splashes or accidental spillages. - Implement the Safe System of Work/Control Measures in the Electrical Safety, Ref. MAN 05 and Gas Safety, Ref. COM 03. Risk Assessments |  |
| Who may be affected by the task/activity? (Tick all applicable boxes) |  |  |  |  |  |
| Compass employees/Agency staff |  |  |  |  |  |
| Customers / Client staff |  |  |  |  |  |
| Visitors / Members of the Public |  |  |  |  |  |
| Maintenance personnel |  |  |  |  |  |
| Delivery personnel |  |  |  |  |  |
| Other (specify below) |  |  |  |  |  |
| IMPORTANT - This risk assessment should be reviewed every 3 years, or whenever there is a significant change in the task or activity and following any accident or incident involving this task or activity. This risk assessment must be retained for a period of 6 years. |  |  |  |  |  |